Group Information:

Department of Biomedical Engineering,

Tsinghua University,

Beijing, 100084, P. R. China

Supervisor: GAO Xiaorong, Ph.D.  ( gxr-dea@tsinghua.edu.cn )
Team Member: CHENG Ming,  JIA Wenyan
Counselor : GAO Shangkai, YANG Fusheng

Algorithm description

The algorithm includes three steps: spatial filtering, feature extraction, and classification. A proper selection of spatial filtering method could increase the signal-to-noise ratio and improve the classification accuracy. Two features are extracted respectively in power spectrum and time domain after preprocessing, and a 2-dimentional linear classifier is adopted for final classification.

Spatial filtering

Spatial filtering includes common average reference (CAR) and common spatial subspace decomposition (CSSD). The CAR method can be implemented easily and we reserve the method in our preprocessing. The CSSD method is designed to compare the activation of brain response components that are differently activated in two cognitive task conditions, and extract signal components which are specific to one condition compared to another condition.

Power feature extraction

Denote  as the power spectral density of channel .  is the set of the selected channels and  is the set containing all the frequency bins within the frequency band of mu rhythm, the power feature is defined as

Time feature extraction

Denote  as the time course of mu rhythm of channel , obtained by narrow band filter. The energy accumulation function of channel  is defined as

Denote  as the set of the selected channels. The time feature is defined as

Linear classifier

One point is drawn in the plane for each trial whose coordinates are the two features. Three lines divide the plane into four regions, and each region represents one target.